## bus
| name | vn_kv | type | zone | in_service | geo
10 | Grid | 110 | b |  | TRUE | "{\"coordinates\": [9.1, 55.1], \"type\": \"Point\"}"
20 | Substation | 110 | b |  | TRUE | "{\"coordinates\": [9.2, 55.2], \"type\": \"Point\"}"
30 | Medium voltage | 20 | b |  | TRUE | "{\"coordinates\": [9.3, 55.3], \"type\": \"Point\"}"
40 | Demand | 20 | b |  | TRUE | "{\"coordinates\": [9.4, 55.4], \"type\": \"Point\"}"
50 | Demand | 20 | b |  | TRUE | "{\"coordinates\": [9.4, 55.4], \"type\": \"Point\"}"

## load
| name | bus | p_mw | q_mvar | const_z_p_percent | const_i_p_percent | const_z_q_percent | const_i_q_percent | sn_mva | scaling | in_service | type
0 |  | 40 | 12 | 2 | 0 | 0 | 0 | 0 |  | 0.9 | TRUE | wye
1 |  | 50 | 1 | 0.2 | 0 | 0 | 0 | 0 |  | 1 | TRUE | wye

## sgen
| name | bus | p_mw | q_mvar | min_q_mvar | max_q_mvar | sn_mva | scaling | controllable | id_q_capability_characteristic | reactive_capability_curve | curve_style | in_service | type | current_source
0 |  | 40 | 1 | 0.2 |  |  |  | 0.8 | FALSE |  | FALSE |  | TRUE |  | TRUE

## gen
| name | bus | p_mw | vm_pu | sn_mva | min_q_mvar | max_q_mvar | scaling | slack | controllable | id_q_capability_characteristic | reactive_capability_curve | curve_style | in_service | slack_weight | type | min_p_mw | max_p_mw
0 |  | 20 | 4 | 1.015 |  |  |  | 1 | FALSE | TRUE |  | FALSE |  | TRUE | 0 |  | 0 | 20

## switch
| bus | element | et | type | closed | name | z_ohm | in_ka
0 | 40 | 50 | b |  | TRUE |  | 0

## shunt
| bus | name | q_mvar | p_mw | vn_kv | step | max_step | id_characteristic_table | step_dependency_table | in_service
0 | 30 |  | -1 | 0.02 | 20 | 2 | 3 |  | FALSE | TRUE

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service | controllable | min_p_mw | max_p_mw
0 |  | 10 | 1.01 | 0 | 1 | TRUE | FALSE | -40 | 40

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service | geo | max_loading_percent
0 |  |  | 10 | 20 | 10 | 0.06 | 0.2 | 8 | 0.01 | 0.5 | 0.8 | 2 |  | TRUE | null | 90
1 |  |  | 30 | 40 | 2 | 0.2 | 0.1 | 20 | 0 | 0.4 | 1 | 1 |  | TRUE | null

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_changer_type | id_characteristic_table | tap_dependency_table | parallel | df | in_service | oltc
0 |  |  | 20 | 30 | 40 | 110 | 20 | 10 | 0.5 | 30 | 0.1 | 15 | hv | 0 | -4 | 4 | 1.25 |  | 2 | Ratio |  | FALSE | 2 | 0.9 | TRUE | FALSE

## poly_cost
| element | et | cp0_eur | cp1_eur_per_mw | cp2_eur_per_mw2 | cq0_eur | cq1_eur_per_mvar | cq2_eur_per_mvar2 | redispatch_up_eur_per_mw | redispatch_down_eur_per_mw
0 | 0 | gen | 0 | 5 | 0 | 0 | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | bus | geo | object
6 | load | name | object
7 | load | bus | uint32
8 | load | p_mw | float64
9 | load | q_mvar | float64
10 | load | const_z_p_percent | float64
11 | load | const_i_p_percent | float64
12 | load | const_z_q_percent | float64
13 | load | const_i_q_percent | float64
14 | load | sn_mva | float64
15 | load | scaling | float64
16 | load | in_service | bool
17 | load | type | object
18 | sgen | name | object
19 | sgen | bus | int64
20 | sgen | p_mw | float64
21 | sgen | q_mvar | float64
22 | sgen | min_q_mvar | float64
23 | sgen | max_q_mvar | float64
24 | sgen | sn_mva | float64
25 | sgen | scaling | float64
26 | sgen | controllable | bool
27 | sgen | id_q_capability_characteristic | Int64
28 | sgen | reactive_capability_curve | bool
29 | sgen | curve_style | object
30 | sgen | in_service | bool
31 | sgen | type | object
32 | sgen | current_source | bool
33 | gen | name | object
34 | gen | bus | uint32
35 | gen | p_mw | float64
36 | gen | vm_pu | float64
37 | gen | sn_mva | float64
38 | gen | min_q_mvar | float64
39 | gen | max_q_mvar | float64
40 | gen | scaling | float64
41 | gen | slack | bool
42 | gen | controllable | bool
43 | gen | id_q_capability_characteristic | Int64
44 | gen | reactive_capability_curve | bool
45 | gen | curve_style | object
46 | gen | in_service | bool
47 | gen | slack_weight | float64
48 | gen | type | object
49 | gen | min_p_mw | float64
50 | gen | max_p_mw | float64
51 | switch | bus | int64
52 | switch | element | int64
53 | switch | et | object
54 | switch | type | object
55 | switch | closed | bool
56 | switch | name | object
57 | switch | z_ohm | float64
58 | switch | in_ka | float64
59 | shunt | bus | uint32
60 | shunt | name | object
61 | shunt | q_mvar | float64
62 | shunt | p_mw | float64
63 | shunt | vn_kv | float64
64 | shunt | step | float64
65 | shunt | max_step | uint32
66 | shunt | id_characteristic_table | Int64
67 | shunt | step_dependency_table | bool
68 | shunt | in_service | bool
69 | ext_grid | name | object
70 | ext_grid | bus | uint32
71 | ext_grid | vm_pu | float64
72 | ext_grid | va_degree | float64
73 | ext_grid | slack_weight | float64
74 | ext_grid | in_service | bool
75 | ext_grid | controllable | bool
76 | ext_grid | min_p_mw | float64
77 | ext_grid | max_p_mw | float64
78 | line | name | object
79 | line | std_type | object
80 | line | from_bus | uint32
81 | line | to_bus | uint32
82 | line | length_km | float64
83 | line | r_ohm_per_km | float64
84 | line | x_ohm_per_km | float64
85 | line | c_nf_per_km | float64
86 | line | g_us_per_km | float64
87 | line | max_i_ka | float64
88 | line | df | float64
89 | line | parallel | uint32
90 | line | type | object
91 | line | in_service | bool
92 | line | geo | object
93 | line | max_loading_percent | float64
94 | trafo | name | object
95 | trafo | std_type | object
96 | trafo | hv_bus | uint32
97 | trafo | lv_bus | uint32
98 | trafo | sn_mva | float64
99 | trafo | vn_hv_kv | float64
100 | trafo | vn_lv_kv | float64
101 | trafo | vk_percent | float64
102 | trafo | vkr_percent | float64
103 | trafo | pfe_kw | float64
104 | trafo | i0_percent | float64
105 | trafo | shift_degree | float64
106 | trafo | tap_side | object
107 | trafo | tap_neutral | float64
108 | trafo | tap_min | float64
109 | trafo | tap_max | float64
110 | trafo | tap_step_percent | float64
111 | trafo | tap_step_degree | float64
112 | trafo | tap_pos | float64
113 | trafo | tap_changer_type | object
114 | trafo | id_characteristic_table | Int64
115 | trafo | tap_dependency_table | bool
116 | trafo | parallel | uint32
117 | trafo | df | float64
118 | trafo | in_service | bool
119 | trafo | oltc | bool
120 | poly_cost | element | uint32
121 | poly_cost | et | object
122 | poly_cost | cp0_eur | float64
123 | poly_cost | cp1_eur_per_mw | float64
124 | poly_cost | cp2_eur_per_mw2 | float64
125 | poly_cost | cq0_eur | float64
126 | poly_cost | cq1_eur_per_mvar | float64
127 | poly_cost | cq2_eur_per_mvar2 | float64
128 | poly_cost | redispatch_up_eur_per_mw | float64
129 | poly_cost | redispatch_down_eur_per_mw | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 3.5.6 | 3.3.0 | TRUE | FALSE | Balanced import reference | 50 | 1